## IT Operational Issues
Main Sheet
Sr.No. | Date | Employee Name | Issue | Resolution | Status | Previous Issue Details | Remarks
1 | 2022-06-01 | NAVIN AGRAWAL | Check Ad Server Performance | 1. Login Ad Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Perform Fine | Resolved
2 | 2022-06-01 | NAVIN AGRAWAL | Check VNR FARM Server Performance | 1. Login VNR FARM Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Working Fine. | Resolved
3 | 2022-06-01 | NAVIN AGRAWAL | Check Both Nas System | Check Both Nas System It's Working Fine | Resolved
4 | 2022-06-01 | NAVIN AGRAWAL | Check Focus Backup | Focus Backup Done | Resolved
5 | 2022-06-01 | NAVIN AGRAWAL | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Resolved
6 | 2022-06-01 | KISLAY SIR | Laptop Slow Wok | 1. Laptop Connect With Anny Desk. 2. Remove All Temp Files From C Drive And Windows Folder. 3. Run SFC Command. 4. Run CHKDSK -R Commeand. 5. Found Need To Update Laptop Ram. 6. Laptop Send To Vendor For Update RAM. 7. RAM Upgrad 4 GB To 12 GB. 8. After UPgrad Ram Laptop Is Working Properly | Resolved
7 | 2022-06-01 | GAUTAM | Dell New Desktop Ready For Management Office First Floor | 1. Register Windows 11. 2. Update Windows 11. 3. Regeister MS Office 365. 4. Install All Required Softwares. 5. Install Quick Heal Antivirus. 6. Register And Update Quick Heal Antivirus. 7. Configure Quick Heal Antivirus. 8. Partation OF SSD For Data Drive. 9. Install Lan Printer And Scanner Driver. 10 System Install At First Floor. | Resolved
8 | 2022-06-01 | GAUTAM | Dell New Desktop Ready For Management Office First Floor | 1. Register Windows 11. 2. Update Windows 11. 3. Regeister MS Office 365. 4. Install All Required Softwares. 5. Install Quick Heal Antivirus. 6. Register And Update Quick Heal Antivirus. 7. Configure Quick Heal Antivirus. 8. Partation OF SSD For Data Drive. 9. Install Lan Printer And Scanner Driver. 10 System Install At First Floor. | Resolved
9 | 2022-06-01 | GAUTAM | Dell New Desktop Ready For Management Office First Floor | 1. Register Windows 11. 2. Update Windows 11. 3. Regeister MS Office 365. 4. Install All Required Softwares. 5. Install Quick Heal Antivirus. 6. Register And Update Quick Heal Antivirus. 7. Configure Quick Heal Antivirus. 8. Partation OF SSD For Data Drive. 9. Install Lan Printer And Scanner Driver. 10 System Install At First Floor. | Resolved
10 | 2022-06-02 | NAVIN AGRAWAL | Check Ad Server Performance | 1. Login Ad Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Perform Fine | Resolved
11 | 2022-06-02 | NAVIN AGRAWAL | Check VNR FARM Server Performance | 1. Login VNR FARM Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Working Fine. | Resolved
12 | 2022-06-02 | NAVIN AGRAWAL | Check Both Nas System | Check Both Nas System It's Working Fine | Resolved
13 | 2022-06-02 | NAVIN AGRAWAL | Check Focus Backup | 1 June 2022 Backup Not Done Automaticlly. Manual Backup Done | Resolved
14 | 2022-06-02 | BIPIN KUMRA | Lan Printer Driver Installation In Laptop | 1. Laptop Connect With Anny Desk. 2. Install Lan Printer Driver. | Resolved
15 | 2022-06-02 | SANJAY SINGH SALES | First Floor Board Room Ready For Meeting | 1. First Floor Board Room Ready And Connect Projectore With Laptop | Resolved
16 | 2022-06-02 | RINKU MAHASAMUND OFFICE | Lan Printer Not Work In Desktop | 1. Desktop Connect With Anny Desk. 2. Remove All Lan Printer Driver From Desktop. 3. Restart Desktop. 4. Reconnect Desktop With Anny Desk. 5. Install Lan Printer Driver. 6. Remove All Temp Files From C Drive And Windows Folder. | Resolved
17 | 2022-06-03 | NAVIN AGRAWAL | Check Ad Server Performance | 1. Login Ad Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Perform Fine | Resolved
18 | 2022-06-03 | NAVIN AGRAWAL | Check VNR FARM Server Performance | 1. Login VNR FARM Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Working Fine. | Resolved
19 | 2022-06-03 | NAVIN AGRAWAL | Check Both Nas System | Check Both Nas System It's Working Fine | Resolved
20 | 2022-06-03 | NAVIN AGRAWAL | Check Focus Backup | Focus Backup Done | Resolved
21 | 2022-06-03 | NAVIN AGRAWAL | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Resolved
22 | 2022-06-03 | MUKESH KHARYA SIR | Meeting With Mukesh Kharya Sir | Meeting With Mukesh Kharya Sir For Samadhan Software. | Attended
23 | 2022-06-04 | NAVIN AGRAWAL | Check Ad Server Performance | 1. Login Ad Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Perform Fine | Resolved
24 | 2022-06-04 | NAVIN AGRAWAL | Check VNR FARM Server Performance | 1. Login VNR FARM Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Working Fine. | Resolved
25 | 2022-06-04 | NAVIN AGRAWAL | Check Both Nas System | Check Both Nas System It's Working Fine | Resolved
26 | 2022-06-04 | NAVIN AGRAWAL | Check Focus Backup | Focus Backup Done | Resolved
27 | 2022-06-04 | NAVIN AGRAWAL | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Resolved
28 | 2022-06-04 | MANISH KARKUN SIR AC | New Dell Desktop Readdy For VNR Farm Accounts | 1. Register Windows 11. 2. Update Windows 11. 3. Regeister MS Office 365. 4. Install All Required Softwares. 5. Install Quick Heal Antivirus. 6. Register And Update Quick Heal Antivirus. 7. Configure Quick Heal Antivirus. 8. Partation OF SSD For Data Drive. 9. Install Lan Printer And Scanner Driver. 10 System Install At First Floor. | Resolved
29 | 2022-06-04 | SHIKHA HR | Lan Printer Not Work In Desktop | Remove Lan Printer Drive And Reinstall | Resolved
30 | 2022-06-06 | NAVIN AGRAWAL | Check Ad Server Performance | 1. Login Ad Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Perform Fine | Resolved
31 | 2022-06-06 | NAVIN AGRAWAL | Check VNR FARM Server Performance | 1. Login VNR FARM Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Working Fine. | Resolved
32 | 2022-06-06 | NAVIN AGRAWAL | Check Both Nas System | Check Both Nas System It's Working Fine | Resolved
33 | 2022-06-06 | NAVIN AGRAWAL | Check Focus Backup | Focus Backup Done | Resolved
34 | 2022-06-06 | NAVIN AGRAWAL | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Resolved
35 | 2022-06-06 | ATUL SIR | Atul Sir Home Dell PC Slow Work | 1. Check Desktop CPU. 2. Dust Cleanning Of CPU. 3. Check CPU And Found Need Update Ram And SSD. 4. CPU Send To Vendor For Update CPU | Attended
36 | 2022-06-06 | MANAS JI LAB | One Desktop All User Delete And Only Administrator User Required | 1. Desktop Connect With Anny Desk. 2. Remove All User Accounts From Windows 10. 3. Remove All User Data From C Drive. 4. Administrator User Password Change. 5. Remove All Temp Files From C Drive And Windows Folder. 6. Restart Desktop | Resolved
37 | 2022-06-06 | ANAMIKA VNR NURSERY | Vnr Nusery One CPU Ready | Ready One CPU And Connect With Lan And Internet | Resolved
38 | 2022-06-06 | ANAMIKA VNR NURSERY | One UPS Not Work In CPU | 1. Check UPS And Found Problem In UPS Bettery. 2. Purchase New UPS Bettery. 3. Install New UPS Bettery And Repairing UPS | Resolved
39 | 2022-06-06 | SACHIN SALES | Laptop Slow Work And Wifi Not Work In Laptop | 1. Remove All Temp Files From C Drive And Windows Folder. 2. Remove Wifi Driver. 3. Restart Laptop. 4. Reinstall Wifi Driver In Laptop. 5. Laptop Connect With Wifi. | Resolved
40 | 2022-06-07 | NAVIN AGRAWAL | Check Ad Server Performance | 1. Login Ad Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Perform Fine | Resolved
41 | 2022-06-07 | NAVIN AGRAWAL | Check VNR FARM Server Performance | 1. Login VNR FARM Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Working Fine. | Resolved
42 | 2022-06-07 | NAVIN AGRAWAL | Check Both Nas System | Check Both Nas System It's Working Fine | Resolved
43 | 2022-06-07 | NAVIN AGRAWAL | Check Focus Backup | Focus Backup Done | Resolved
44 | 2022-06-07 | NAVIN AGRAWAL | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Resolved
45 | 2022-06-07 | NARESH PLANT | MS Office Not Work In Desktop | 1. Desktop Connect With Anny Desk. 2. Check MS Office And Found Sum Erorr In MS Office. 3. Uninstall MS Office From Desktop. 4. Restart MS Office. 5. Reconnect Anny Desk. 6. Remove MS Office Folder From Program Files. 7. Install MS Office 2013. 8. Creck MS Office 2013. | Resolved
46 | 2022-06-07 | KHUSHBOO PLANT | Quick Heal Antivirus Expired From Desktop | 1. Desktop Connect With Anny Desk. 2. Uninstall Expired Quick Heal Antivirus From Desktop. 3. Restart Desktop. 4. Reconnect Desktop With Anny Desk. 5. Remove Quick Heal Folder From Program Files. 6. Download Quick Heal Antivirus Software From Net. 7. Install Quick Heal Anticirus In Desktop. 8. Register And Update Quick Heal. 9. Configure Quick Heal Antivirus. 10 Remove All Tepm Files From C Drive And Windows Folder. | Resolved
47 | 2022-06-07 | AUSHI ADMIN | Lan Printer Not Work In Laptop | 1. Remove All Lan Printer Driver From Laptop. 2. Install Lan Printer Driver 3. Install Scanner Driver | Resolved
48 | 2022-06-07 | RAHUL AGRAWAL PLANT | Quick Heal Antivirus Expired From Desktop | 1. Desktop Connect With Anny Desk. 2. Uninstall Expired Quick Heal Antivirus From Desktop. 3. Restart Desktop. 4. Reconnect Desktop With Anny Desk. 5. Remove Quick Heal Folder From Program Files. 6. Download Quick Heal Antivirus Software From Net. 7. Install Quick Heal Anticirus In Desktop. 8. Register And Update Quick Heal. 9. Configure Quick Heal Antivirus. 10 Remove All Tepm Files From C Drive And Windows Folder. | Resolved
49 | 2022-06-08 | NAVIN AGRAWAL | Check Ad Server Performance | 1. Login Ad Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Perform Fine | Resolved
50 | 2022-06-08 | NAVIN AGRAWAL | Check VNR FARM Server Performance | 1. Login VNR FARM Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Working Fine. | Resolved
51 | 2022-06-08 | NAVIN AGRAWAL | Check Both Nas System | Check Both Nas System It's Working Fine | Resolved
52 | 2022-06-08 | NAVIN AGRAWAL | Check Focus Backup | Focus Backup Done | Resolved
53 | 2022-06-08 | NAVIN AGRAWAL | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Resolved
54 | 2022-06-08 | AP SINGH | IR 3300 Photocopy Not Work | 1. Check IR 3300 Photocopy M/c. 2. Found MCB Bad. 3. Change MCB From Photocopy M/c. 4. After Change MCB Photocopy M/c Working Fine. | Resolved
55 | 2022-06-08 | SANTOSH QA LAB | Canon 2900 Printer Driver Installation In Laptop | 1. Laptop Connect With Anny Desk. 2. Remove All Installed Printer Driver. 3. Download Canon 2900 Printer Driver. 4. Install Canon 2900 Printer Driver. | Resolved
56 | 2022-06-08 | AP SINGH | Kruti Font Installation In Leagle 1 User In AD Server | Login Leagle 1 User In Laptop. Install Kruti Dev Font In AD Server | Resolved
57 | 2022-06-08 | NAVIN AGRAWAL | Second Floor IT Room CCTV Camera Not Work | 1. Check Camera Found Camera Is Bad. 2. New CCTV Ip Camera Configure. 3. Install New Camera. | Resolved
58 | 2022-06-09 | NAVIN AGRAWAL | Check Ad Server Performance | 1. Login Ad Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Perform Fine | Resolved
59 | 2022-06-09 | NAVIN AGRAWAL | Check VNR FARM Server Performance | 1. Login VNR FARM Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Working Fine. | Resolved
60 | 2022-06-09 | NAVIN AGRAWAL | Check Both Nas System | Check Both Nas System It's Working Fine | Resolved
61 | 2022-06-09 | NAVIN AGRAWAL | Check Focus Backup | Focus Backup Done | Resolved
62 | 2022-06-09 | NAVIN AGRAWAL | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Resolved
63 | 2022-06-09 | GUMAN PLANT | Quick Heal Antivirus Expired From Desktop | 1. Desktop Connect With Anny Desk. 2. Uninstall Expired Quick Heal Antivirus From Desktop. 3. Restart Desktop. 4. Reconnect Desktop With Anny Desk. 5. Remove Quick Heal Folder From Program Files. 6. Download Quick Heal Antivirus Software From Net. 7. Install Quick Heal Anticirus In Desktop. 8. Register And Update Quick Heal. 9. Configure Quick Heal Antivirus. 10 Remove All Tepm Files From C Drive And Windows Folder. | Resolved
64 | 2022-06-09 | SHREYA HR | Desktop Not Start | Reconnect All Cables From CPU And Monitor | Resolved
65 | 2022-06-09 | NABNEETA HR | Desktop Not Connect With Wifi | Remove Wifi Driver From Desktop. Remove All Temp Files From C Drive And Widnows Folder. Reintall Wifi Driver | Resolved
66 | 2022-06-09 | HR DEPARTMENT | All Desktop Connect With Lan | Install Lan Cable And Connect All Desktop With Lan | Resolved
67 | 2022-06-09 | ATUL SIR | Dell CPU Comes For Repairing | Check CPU And Found Neet To Update Ram And SSD Laptop Send To Vendor For Update Laptop. | Resolved
68 | 2022-06-10 | NAVIN AGRAWAL | Check Ad Server Performance | 1. Login Ad Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Perform Fine | Resolved
69 | 2022-06-10 | NAVIN AGRAWAL | Check VNR FARM Server Performance | 1. Login VNR FARM Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Working Fine. | Resolved
70 | 2022-06-10 | NAVIN AGRAWAL | Check Both Nas System | Check Both Nas System It's Working Fine | Resolved
71 | 2022-06-10 | NAVIN AGRAWAL | Check Focus Backup | Focus Backup Done | Resolved
72 | 2022-06-10 | NAVIN AGRAWAL | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Resolved
73 | 2022-06-10 | NAVIN AGRAWAL | Meeting With Mukesh Kharya Sir For Prepairing Interview Paper | Meeting With Mukesh Kharya Sir For Prepairing Interview Paper | Resolved
74 | 2022-06-10 | MUKESH KHARYA SIR | Ans Sheet Ready For All Laptop And Desktop | Ready Ans Sheet For All Desktop And Laptop | Resolved
75 | 2022-06-10 | MUKESH KHARYA SIR | 5 No Candidate Interview | 5 No Candidate Interview | Resolved
76 | 2022-06-10 | FAGUN MAM ADMIN | Lan Printer Driver Installation In Laptop | Install Lan Printer Driver In Laptop | Resolved
77 | 2022-06-11 | NAVIN AGRAWAL | Check Ad Server Performance | 1. Login Ad Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Perform Fine | Resolved
78 | 2022-06-11 | NAVIN AGRAWAL | Check VNR FARM Server Performance | 1. Login VNR FARM Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Working Fine. | Resolved
79 | 2022-06-11 | NAVIN AGRAWAL | Check Both Nas System | Check Both Nas System It's Working Fine | Resolved
80 | 2022-06-11 | NAVIN AGRAWAL | Check Focus Backup | Focus Backup Done | Resolved
81 | 2022-06-11 | NAVIN AGRAWAL | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Resolved
82 | 2022-06-11 | N K SHARMA | Laptop Slow Work And Ms Office Not Work In Laptop | 1. Remove All Temp Files From C Drive And Windows Folder. 2. Remove Ms Office. 3. Restart Laptop. 4. Remove MS Office Folder From Program Files. 5. Install Ms Office 2013. 6. Crack MS Office 2013. | Resolved
83 | 2022-06-11 | MUKESH PLANT | UPS Check After Reparing From Service Center | Check UPS Its Working Properly. UPS Pack And Send To Plant | Resolved
84 | 2022-06-11 | BIPIN KUMRA | AD Server Hang | Check AD Server And Restart. | Resolved
85 | 2022-06-13 | NAVIN AGRAWAL | Check Ad Server Performance | 1. Login Ad Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Perform Fine | Resolved
86 | 2022-06-13 | NAVIN AGRAWAL | Check VNR FARM Server Performance | 1. Login VNR FARM Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Working Fine. | Resolved
87 | 2022-06-13 | NAVIN AGRAWAL | Check Both Nas System | Check Both Nas System It's Working Fine | Resolved
88 | 2022-06-13 | NAVIN AGRAWAL | Check Focus Backup | Focus Backup Done | Resolved
89 | 2022-06-13 | NAVIN AGRAWAL | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Resolved
90 | 2022-06-13 | A.P. SINGH | IR 3300 Photocopy Not Work | Check Photocopy M/c And Found Tonner Empty. Put 500 G Tonner In Tonner Box. Clean All Rollers | Resolved
91 | 2022-06-13 | KHUSHI MAM | Laptop Connect With Wifi | Apple Laptop Connect With Wifi | Resolved
92 | 2022-06-13 | NAFIS MIS | Lan Printer Not Work In All System | 1. Check Lan Printer Driver In Server. 2. Restart Sourc PC. 3. Share Printer With Lan. | Resolved
93 | 2022-06-13 | VIMAL SIR | Khushi I Phone Not Work | Going To KNS Apple Service Center For Repairing Phone | Resolved
94 | 2022-06-13 | RAHUL TRIPATHI | Presenter Required For Meeting | Give USB Presenter To Rahul Tripathi | Resolved
95 | 2022-06-13 | GAUTAM SHRAMA | Biomatrix Lock Required For Tatibandh Lab | Going To Bala Ji Infotech For Purchase Biomatrix Lock | Resolved
96 | 2022-06-13 | YOGESH AC | Farm Server Not Connect In Desktop | 1. Reconnect All Cables From CPU. 2. Farm Server Connect With Admin Account And Log Off User VNRFM10. 3. Relogin User In Desktop | Resolved
97 | 2022-06-14 | NAVIN AGRAWAL | Check Ad Server Performance | 1. Login Ad Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Perform Fine | Resolved
98 | 2022-06-14 | NAVIN AGRAWAL | Check VNR FARM Server Performance | 1. Login VNR FARM Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Working Fine. | Resolved
99 | 2022-06-14 | NAVIN AGRAWAL | Check Both Nas System | Check Both Nas System It's Working Fine | Resolved
100 | 2022-06-14 | NAVIN AGRAWAL | Check Focus Backup | Focus Backup Done | Resolved
101 | 2022-06-14 | NAVIN AGRAWAL | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Resolved
102 | 2022-06-14 | VIMLA SAHU | FArm Server Not Connect In Think Client | Restart Farm Server | Resolved
103 | 2022-06-14 | NABNEETA HR | Canon 2440 Printer Not Work In Desktop | 1. Remove All Printer Driver. 2. Remove All Temp Files From C Drive And Windows Folder. 3. ReInstall Canon 2440 Printer Driver. | Resolved
104 | 2022-06-14 | NAVIN AGRAWAL | BSNL FTTH LINE DOWN | Call Lock To BSNL And Solve Problem | Resolved
105 | 2022-06-14 | KRISHNA HR | Lan Printer Not Work In Desktop | Remove All Lan Printer Driver From Desktop Install Lan Printer Driver | Resolved
106 | 2022-06-14 | RAKESH VNR AGRIMATRIX GOMCHI | Canon Lan Printer Comes For Reparing | 1. Check Printer And Found Problem In Pressur Roller And Tefloan. 2. Call To Vendor And Repairing Printer. 3. Check Printer After Repairng. 4. Printer Send To Gomchi | Resolved
107 | 2022-06-14 | NEHA JAIN MIS | Lan Printer Driver Installation And IR 3300 Printer Driver Installation | 1. Laptop Connect With Anny Desk. 2. Install Lan Printer Driver. 3. Install IR 3300 Printer Driver | Resolved
108 | 2022-06-15 | NAVIN AGRAWAL | Check Ad Server Performance | 1. Login Ad Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Perform Fine | Resolved
109 | 2022-06-15 | NAVIN AGRAWAL | Check VNR FARM Server Performance | 1. Login VNR FARM Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Working Fine. | Resolved
110 | 2022-06-15 | NAVIN AGRAWAL | Check Both Nas System | Check Both Nas System It's Working Fine | Resolved
111 | 2022-06-15 | NAVIN AGRAWAL | Check Focus Backup | Focus Backup Done | Resolved
112 | 2022-06-15 | NAVIN AGRAWAL | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Resolved
113 | 2022-06-15 | SHREYA HR | Net Slow Work In Desktop | 1. Check Desktop And Remove All Temp Files From C Drive And Windows Folder. 2. Restart Desktop. | Resolved
114 | 2022-06-15 | SOURABH VNR NURSERY | Fatel Erorr Comes In Laptop | Check Laptop And Found Problem In SSD. Run Chkdsk Command | Resolved
115 | 2022-06-15 | VISHNU PRASAD KAREEM NAGAR | Quick Heal Antivirus Expired From Desktop | 1. Desktop Connect With Anny Desk. 2. Uninstall Expired Quick Heal Antivirus From Desktop. 3. Restart Desktop. 4. Reconnect Desktop With Anny Desk. 5. Remove Quick Heal Folder From Program Files. 6. Download Quick Heal Antivirus Software From Net. 7. Install Quick Heal Anticirus In Desktop. 8. Register And Update Quick Heal. 9. Configure Quick Heal Antivirus. 10 Remove All Tepm Files From C Drive And Windows Folder. | Resolved
116 | 2022-06-15 | MUKESH KHARYA SIR | Interview Of Sourabh | Interview Of Sourabh | Attended
117 | 2022-06-16 | NAVIN AGRAWAL | Check Ad Server Performance | 1. Login Ad Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Perform Fine | Resolved
118 | 2022-06-16 | NAVIN AGRAWAL | Check VNR FARM Server Performance | 1. Login VNR FARM Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Working Fine. | Resolved
119 | 2022-06-16 | NAVIN AGRAWAL | Check Both Nas System | Check Both Nas System It's Working Fine | Resolved
120 | 2022-06-16 | NAVIN AGRAWAL | Check Focus Backup | Focus Backup Done | Resolved
121 | 2022-06-16 | NAVIN AGRAWAL | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Resolved
122 | 2022-06-16 | RAGNI JI CS | Desktop Mouse Not Work | 1. Check Desktop Mouse And Found Mouse Bettery Is Bad. 2. Change Mouse Bettery | Resolved
123 | 2022-06-16 | VISHNU PRASAD KAREEM NAGAR | Quick Heal Antivirus Expired From Desktop | 1. Desktop Connect With Anny Desk. 2. Uninstall Expired Quick Heal Antivirus From Desktop. 3. Restart Desktop. 4. Reconnect Desktop With Anny Desk. 5. Remove Quick Heal Folder From Program Files. 6. Download Quick Heal Antivirus Software From Net. 7. Install Quick Heal Anticirus In Desktop. 8. Register And Update Quick Heal. 9. Configure Quick Heal Antivirus. 10 Remove All Tepm Files From C Drive And Windows Folder. | Resolved
124 | 2022-06-16 | SANJAY SINGH SALES | New Lenovo Laptop Ready | 1. Register Windows 11. 2. Update Windows 11. 3. Regeister MS Office 365. 4. Install All Required Softwares. | Resolved
125 | 2022-06-16 | KIRAN SAHU | Telephone Not Work | Check Telephone Connection. Found Problem In Telephone Box. Change Telephone Box | Resolved
126 | 2022-06-17 | NAVIN AGRAWAL | Check Ad Server Performance | 1. Login Ad Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Perform Fine | Resolved
127 | 2022-06-17 | NAVIN AGRAWAL | Check VNR FARM Server Performance | 1. Login VNR FARM Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Working Fine. | Resolved
128 | 2022-06-17 | NAVIN AGRAWAL | Check Both Nas System | Check Both Nas System It's Working Fine | Resolved
129 | 2022-06-17 | NAVIN AGRAWAL | Check Focus Backup | Focus Backup Done | Resolved
130 | 2022-06-17 | NAVIN AGRAWAL | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Resolved
131 | 2022-06-17 | DEVESH SHUKLA SIR | New Dell Laptop Ready | 1. Register Windows 11. 2. Register MS Office. 3. Update Windows And MS Office. 4. Install All Required Softwares. | Resolved
132 | 2022-06-17 | GAUTAM SHRAMA | AD Server Hang | Restart Ad Server | Resolved
133 | 2022-06-17 | SWAPNIL AGRAWAL | Sum Documents Scaning Work | Scan Documents And Creat PDF Files All Scan Files Copy To Pen Drive | Resolved
134 | 2022-06-18 | NAVIN AGRAWAL | Check Ad Server Performance | Ad Server Is Not Start. Repairing Windows Server And Start AD Server. Total 4 Hours Spand For Repairng | Resolved
135 | 2022-06-18 | NAVIN AGRAWAL | Check VNR FARM Server Performance | 1. Login VNR FARM Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Working Fine. | Resolved
136 | 2022-06-18 | NAVIN AGRAWAL | Check Both Nas System | Check Both Nas System It's Working Fine | Resolved
137 | 2022-06-18 | NAVIN AGRAWAL | Check Focus Backup | Focus Backup Done | Resolved
138 | 2022-06-18 | NAVIN AGRAWAL | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Resolved
139 | 2022-06-18 | VISHWAJEET R&d | Windows 10 Activtion Erorr And MS Office Activtion Erorr | 1. Laptop Connect With Anny Desk. 2. Remove All Temp Files Form C Drive And Windows Folder. 3. Creck Windows 10. 4. Creck MS Office 2013. | Resolved
140 | 2022-06-18 | IT DEPARTMENT | Lunch Meeting With IT Teem | Lunch Meeting With IT Teem | Attended
141 | 2022-06-20 | NAVIN AGRAWAL | Check Ad Server Performance | Ad Server Is Not Start. Repairing Windows Server And Start AD Server. Total 4 Hours Spand For Repairng | Resolved
142 | 2022-06-20 | NAVIN AGRAWAL | Check VNR FARM Server Performance | 1. Login VNR FARM Server With Admin ID. 2. Remvoe All Temp Files From C Drive And Winows Folder. 3. Run Diskcleanup Command For C Driver. 4. Server Working Fine. | Resolved
143 | 2022-06-20 | NAVIN AGRAWAL | Check Both Nas System | Check Both Nas System It's Working Fine | Resolved
144 | 2022-06-20 | NAVIN AGRAWAL | Check Focus Backup | Focus Backup Done | Resolved
145 | 2022-06-20 | NAVIN AGRAWAL | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Restart Lan Panal All Lan Switch, Modem, NVR, Wifi Device | Resolved
146 | 2022-06-20 | ASHISH BAJPAI SIR AC | ACC-1 Disconnect Many Times From Desktop | 1. Visit To Ashish Sir Cabin. 2. Remove All Temp Files From C Drive And Windows Folder. 3. Run Quick Heal Boot Scan. 4. Reconnect AD Server And Work Properly | Resolved
147 | 2022-06-20 | RAJ MIS | IR 3300 Photocopy Not Work | Check Photocopy M/c And Found Paper Jam In Photocopy M/c Remove Jam Papaer From Photocopy M/c | Resolved
148 | 2022-06-20 | ROHIT VNR NURSERY | Wifi Not Work In Laptop | 1. Check Laptop And Found Problem In Wifi Driver. 2. Remove Wifi Driver From Laptop. 3. Remove All Temp Files From C Drive And Windows Folder. 4. Restart Laptop. 5. Reinstall Wifi Driver In Laptop. 6. Laptop Connect With Wifi And Working Properly | Resolved
149
150
151 |  | 21 June To 30 June I Am In Leave For Sum Personal Work
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200
201
202
203
204
205
206
207
208
209
210
211
212
213
214
215
216
217
218
219
220
221
222
223
224
225
226
227
228
229
230
231
232
233
234
235
236
237
238
239
240